Mr P N Daines

Development Services Manager

Planning & Development Control

Breckland Council

Elizabeth House

Walpole Lake

Dereham

Norfolk NR19 1EE

19th April 2004

Dear Mr Daines

Re:	Breckland Design Guide – Consultation Draft

Thank you for giving the HBF opportunity to comment on the above mentioned document.

Before I set out the HBF’s comments I would be grateful if you could amend your Council’s database of people to contact on planning policy and housing matters, in order to ensure that any correspondence to the HBF is sent directly to me at my home address (rather than to the HBF’s Leonard Street, London offices which it will be very shortly vacating): Mr P Cronk, House Builders Federation, White Gables, 34 Church Road, Brightlingsea, Colchester CO7 0JF and note my phone number: 07802 857099. I can be contacted by e-mail at paul.cronk@hbf.co.uk.

# Specific matters:

In relation to the specific content of the Consultation Draft Design Guide the HBF would like to make the following brief points:

Using Design Principles

The HBF strongly supports the Guide’s approach not to provide lists of design do’s and don’ts, and not to seek to be a ‘design rule book’. It considers that by seeking to be flexible as regard to what constitutes good design, the Council is likely to be more successful in achieving results on the ground than by implementing arbitrary or rigid design requirements.

Reducing Energy Use

### The house-building industry is supportive of the need to consider energy efficiency, or the incorporation of energy efficient technologies (where relevant) as part of the design process. Indeed HBF is pleased to see Planning encourage proper consideration of energy efficiency to be made within development design. However, HBF do not consider that stipulations of investigation, and / or incorporation of certain types of technologies (e.g. combined heat and power schemes or condensing boilers) should be made within Planning legislation. The HBF outlines below its general position in respect of energy efficiency:

Stipulations of design criteria (for example: on the use of insulation, triple glazing or low emissivity glazing or on the construction, usage and heating of conservatories) should be avoided, as they are invariably all Building Regulation matters.

Regulations for new homes have recently been subject to review and will continue to be updated in line with the country’s carbon reduction targets.

Stipulations of the incorporation of certain types of technologies should also be avoided, as other development design criteria, or supply industry issues, may hold greater importance and make the technology’s use unviable or impossible for inclusion. Global stipulation might also be seen as preventing market competition, innovation and improvement!

HBF would also argue against any request for the production of energy efficiency risk assessments to be made within the planning process for new homes, as we consider that the review and conflicts raised by discussions over the numerous issues associated will slow down the planning process for no good purpose, given that the regulatory responsibilities for carbon savings and energy efficiency are contained within the building control system.

# Stipulation of Energy Standards and Carbon Neutral Requirement

## HBF would argue that energy standard levels are Building Regulation matters and not matters for Planning.  The requirement for Energy Rating of properties is quite clearly a Building Regulations matter not a Planning one. The construction of domestic dwellings is subject to the building regulations, and under Part L of those regulations, domestic properties have to be allocated a “SAP rating” for energy efficiency.

## In association with the SAP rating the Carbon Index can be calculated to show the carbon savings achieved due to the energy efficiency of the construction, and services / heating provision.

National Standards

## HBF would suggest that energy efficiency / conservation in new homes will be best achieved through the Building Regulations.

## Experience has shown that the established system of building control in England and Wales provides a reliable framework for the control of health, safety and energy efficiency / conservation matters within buildings. With very few exceptions, national rules are applied consistently. HBF cannot see that there are likely to be any legitimate considerations relating to energy efficiency / conservation, which would benefit from exposure to the planning system, or by the imposition of alternative (more stringent or more relaxed) requirements to those contained within the Building Regulations.

## Cost and proportionality:

The industry works closely with Government, BRAC, BRE and others, regarding Building Regulation changes, in order to agree changes that can be achieved without unduly constraining design or introducing unacceptable technical risks.

## During review of the Part L proposals it was identified that only marginally low levels of additional carbon savings are likely to accrue by setting minimum standards beyond the 0.35W/m2K set for external wall construction, whereas even a minimal change (i.e. to 0.30W/m2K) would potentially require the industry to abandon current building practices and move to new forms of construction.   Such a step-change could have been detrimental to meeting housing need due to insufficient capacity in the timber and steel frame supply industry to meet the anticipated demand associated with such a change. The likely-hood of associated problems in obtaining the level of new labour required, and in providing and achieving the training / re-training needs of all construction was also a consideration.

Changes to standards / requirements in construction need to be made with detailed consideration so that the cost of achieving the requirement does not outweigh the benefit obtained by the change. Thus HBF would maintain the position that changes to standards are best reviewed and set at a National level – i.e. under Building Regulations.

## HBF anticipate that any alternative standards imposed under Planning Guidance would introduce further delays and complication into the planning and building control approval stages of the development process, as well as having the potential to adversely affect housing supply within the Region.

New Dwellings

New dwellings provide:

- Increased thermal insulation

- Energy efficient boiler and heating installation

- Efficient heating controls

- Building ventilation designed in conjunction with heating installation, summer shading and winter exposure

- Efficient glazing

- Energy saving light fittings & bulbs

- Energy efficient electrical white goods

- Low water usage appliances and fittings

- Incorporation of green or sustainable materials (e.g. timber from re-planted sources)

- Space for recycling of domestic waste

Where possible use is made of siting, orientation and layout, for the efficient use of natural light, and / or to optimise the balance between summer shading and winter heat loss through exposure. Although it should be noted that densities required under PPG3 often hinder ‘full’ use of solar gain opportunities.

Shading, exposure and the incorporation of shading / screening planting is also a design consideration to aid the optimisation of the balance between summer shading and winter heat loss through exposure. Although again, ‘full’ use can be hindered by layouts to meet PPG3 densities.

SAP Notices are provided – notifying purchasers of the energy rating of their new home, composed with reference to both the insulation and the boiler / heating installed. Carbon Index values are also often provided. [The new HBF industry standard SAP notice provides a visual* representation (i.e. of both SAP Rating and Carbon Index) to purchasers of the energy efficiency of their new homes. (*similar to the energy efficiency coding on white electrical goods)]

Environmentally friendly construction practices:

New build housing developers also often incorporate the following environmentally friendly construction practices into their development processes, where possible:-

- Management of site waste: Monitoring of waste, recycling of waste, adaptation of ordering processes to give minimum waste.

- Saving of Transportation Energy: Via the incorporation of local materials where available.

## Although this may not be possible where developments use energy saving materials – especially solar technologies such as PV, as most of these technologies have to be transported from Europe into the UK. Also as the industry invokes Egan principals and turns more towards utilising off-site manufacturing processes and system building it is more likely that local materials will not be used, and that more transportation will be involved in the Construction process.

## Other areas where Energy Efficiency savings could be achieved:

## Existing Housing Stock

## New build is a low percentage of housing stock, and increasing the efficiency of the existing housing stock would be more beneficial to the environment.

## “the existing stock is the big carbon producer and if you want to get at the big output from housing and offices, you cannot look only at new buildings, which by and large are pretty efficiently built anyway”

## .

John Hobson (from the keynote address, NHBC Annual Conference 1998)

“The most ‘cost effective’ options involve upgrading more dwellings to a relatively modest standard rather than improving fewer dwellings to a higher standard”

Housing Research Summary: English House Condition Survey 1996.

Energy Report (No. 120, 2000)

## The table below shows energy efficiency details for a 1900’s property with various improvements. Also shown are the figures for a new build property pre and post the Amendments to Part L, April 2002.

## The figures below are based on a detached house with an area of 120m2 and with the same area of openings.

## Insulation improvements in the calculations were:

## Loft – 200mm quilt

## Walls – 50mm insulation

## Glazing – 100% double glazed 6mm air gap

## Draught Proofing – 100%

## Cylinder Insulation – 100mm jacket

## Heating and controls – Modern gas heating with programmer, roomstat and thermostatic valves

## Note: The 1900 property was assumed to have solid walls, and while these can be insulated the cost of doing so may be prohibitive.

| ## Property Type | ## SAP | ## CO2 (Tonnes per annum) | ## Space and Water Heating Costs (£ / annum) |
| --- | --- | --- | --- |
| ## 1900 Property as constructed with no central heating, coal open fires | ## 10 | ## 23.4 | ## £1,200 |
| ## 1900 Property as constructed with gas central heating fitted 20 years ago | ## 27 | ## 10.4 | ## £830 |
| ## 1900 Property with insulation improvements but no central heating, open coal fires | ## 43 | ## 11.3 | ## £600 |
| ## 1900 Property with insulation improvements and standard gas central heating | ## 57 | ## 5.2 | ## £440 |
| ## 1900 Property with insulation improvements and condensing gas central heating | ## 70 | ## 3.8 | ## £338 |
| ## Newbuild pre April 2002 – With standard gas central heating | ## 76 | ## 3.4 | ## £300 |
| ## Newbuild pre April 2002 – With condensing gas central heating | ## 82 | ## 2.9 | ## £265 |
| ## Newbuild post April 2002 – With standard gas central heating | ## 90 | ## 2.4 | ## £230 |
| ## Newbuild post April 2002 – With condensing gas central heating | ## 96 | ## 2.1 | ## £200 |
| ## Please note the figures quoted above are indicative and should only be used for comparison purposes. ## Further details and information can be obtained from Elmhurst Energy Systems. Tel: 01788-833-386. |  |  |  |

## Strutt & Parker – A Survey of People’s Attitudes to Energy Efficient Housing (2000) “Industry estimates that loft lagging alone can reduce fuel bills by about 20%. Lagging pipes and installing a modern condensing boiler will produce further savings.”

## HBF would recommend that the compulsory SAP notice requirement should be applied to existing buildings as well as new, as this will draw the attention of many more house holders to the energy performance of their properties.

## Brown Goods

## The extent of brown goods (i.e. non-white electrical goods, e.g. TVs, Computers, etc.) installed / used within a domestic residence by occupiers is increasing. The energy usage of brown goods both in use and in stand-by mode is high. Potentially this is an area where high savings in energy efficiency terms can be achieved – far above those achievable by further amendments of the structure (insulation) and services installations.

## Unfortunately the house-building industry has no control over manufacture, consumer choice, or usage patterns in respect of brown goods – and these are rarely (if ever) provided as part of the sales package.

## HBF consider that brown goods should be made subject to the same visible energy rating bands as white goods in order to influence consumer choice on energy efficiency terms.

Residential Amenity – distance

Reference is made to the fact that minimum back to back distances of around 20 metres have traditionally been applied to residential properties. However, given the density requirements set out in PPG3, the statement should be amended by the inclusion of a reference to this.

Appendix 1 – Context Assessment: supporting planning applications

It is stated that for many proposals the Council will expect planning applications to be accompanied by full details of planning context, and a short written ‘design statement’ setting out how a proposal responds to this context.

The HBF is not entirely clear as to the extent of this requirement or how it is to be operated. It considers that there should be greater guidance in respect of when and how the Council sees such a requirement operating. It would be concerned if any requirement became unduly restrictive or burdensome upon applicants.

I look forward to the acknowledgment of these comments in due course.

Yours sincerely

# Paul Cronk

Regional Planner (Eastern Region)